## Slide 1: Linda Moon, Global Quality & Accreditation Manager, BSI Ajith John, Global QMS Technical & Regulatory Reviewer , BSI
MDSAP Audit Approach

## Slide 2: MDSAP Audit Approach – AO Perspective

## Slide 3
MDSAP Procedures – FDA website
All procedures and forms required by an auditing organization to conduct an MDSAP audit are hosted on the FDA website
Publicly accessible

## Slide 4
Audit Duration Calculation
MDSAP Process | MDSAP Tasks per Process | Minutes per Audit Task
Management | 11 | 28.8
Device Marketing Authorization &Facility Registration (DMA&FR) | 3 | 28.8
Measurement Analysis & Improvement (MA&I) | 16 | 30.4
MD Adverse Events & Advisory Notice Reporting (MDAE&ANR) | 2 | 30.4
Design & Development (D&D) | 17 | 16.8
Production & Servicing Controls (P&SC) | 29 | 35.2
Purchasing | 12 | 12.0

## Slide 5
MDSAP Audit Approach Document
Chapter 1 - Management
1
Chapter 2 - Device Marketing Authorization and Facility Registration
2
Chapter 3 - Measurement, Analysis and Improvement
3
Chapter 4 - Medical Device Adverse Events and Advisory Notices Reporting
4
Chapter 5 - Design and Development
5
Chapter 6 - Production and Service Controls
6
Chapter 7 - Purchasing
7

## Slide 6
Audit Sequence
A prescribed audit sequence is followed by auditors when conducting MDSAP audits
Constant communication between members of the audit team is essential

## Slide 7
Assigning Auditors
Auditors are assigned for an audit based on:
Technology
Geography
Leadership
Language
Microbiology aspects
Depending on duration may be a multi-stream audit with several auditors some of whom may be remote

## Slide 8
Pre-audit Information
Address, Contact Name & Details
Senior responsible party
Work shifts, personnel per shift
Final Product List made and shipped from audited site per jurisdiction (risk class, licence number, product name)
Critical Supplier List
Changes to products since last visit
Adverse Events and Field Corrections per jurisdiction
Facility Identification numbers for audited site for the respective jurisdictions

## Slide 9
Sample audit plan

## Slide 10
Question & Answers

## Slide 11
THANK YOU